## First Pywake Outputs
|  | AEP Gain | [6 empty] | number of movements
| character | dir sensitivity | 1 | 5 | 10 | 20 | 40 | 90 | dir sensitivity | 1 | 5 | 10 | 20 | 40 | 90
Chile | diurnal bif | (degrees) | 2.3% | 2.3% | 2.3% | 2.4% | 2.3% | 2% | (degrees) | 3215 | 1826 | 1291 | 929 | 633 | 380
New Zealand | broad bif |  | 2.3% | 2.3% | 2.3% | 2.1% | 1.9% | 1.8% |  | 3070 | 1646 | 1044 | 582 | 314 | 158
HornsRev | broad split |  | 1.6% | 1.3% | 1% | 0.2% | 0.1% | -2% |  | 3245 | 1766 | 1110 | 596 | 292 | 110
Maine | broad | [8 empty] | 3295 | 1967 | 1257 | 726 | 379 | 177
California | broad mono |  | 1.2% | 1.1% | 1.1% | 0.9% | -8% | -7.9% |  | 3062 | 1512 | 905 | 472 | 233 | 111
Taiwan | narrow mono |  | 0.5% | 0.5% | 0.5% | -1.3% | -8.7% | -8.3% |  | 2825 | 1348 | 804 | 441 | 217 | 117
Daily Movements
| outdated, ignore | [7 empty] | Chile | 17.6164 | 10.0055 | 7.074 | 5.0904 | 3.4685 | 2.0822
[9 empty] | New Zealand | 16.8219 | 9.0192 | 5.7205 | 3.189 | 1.7205 | 0.86575
[9 empty] | Hornsrev | 17.7808 | 9.6767 | 6.0822 | 3.2658 | 1.6 | 0.60274
[9 empty] | Maine | 18.0548 | 10.7781 | 6.8877 | 3.9781 | 2.0767 | 0.96986
[9 empty] | California | 16.7781 | 8.2849 | 4.9589 | 2.5863 | 1.2767 | 0.60822
[9 empty] | Taiwan | 15.4795 | 7.3863 | 4.4055 | 2.4164 | 1.189 | 0.6411
|  | Wind Roses | [9 empty] | Charts
|  | Chile |  |  |  |  | HornsRev
|  | Taiwan |  |  |  |  | New Zealand
California

## Updated Pywake Outputs
deg sens | 1 |  |  | 5 |  |  | 10 |  |  | 20 |  |  | 40 |  |  | 90
| clean AEP gain | noisy AEP gain | uncert in AEP gain | clean AEP gain | noisy AEP gain | uncert in AEP gain | clean AEP gain | noisy AEP gain | uncert in AEP gain | clean AEP gain | noisy AEP gain | uncert in AEP gain | clean AEP gain | noisy AEP gain | uncert in AEP gain | clean AEP gain | noisy AEP gain | uncert in AEP gain
Chile | 2.378% | 2.296% | 0.08226% | 2.383% | 2.301% | 0.08191% | 2.38% | 2.298% | 0.08173% | 2.4% | 2.315% | 0.08581% | 2.306% | 2.212% | 0.09406% | 2.014% | 1.93% | 0.08381%
New Zealand | 2.269% | 2.127% | 0.1422% | 2.278% | 2.133% | 0.1448% | 2.284% | 2.137% | 0.1467% | 2.108% | 1.974% | 0.134% | 1.897% | 1.77% | 0.1271% | 1.764% | 1.658% | 0.1059%
Hornsrev | 1.605% | 1.541% | 0.06416% | 1.344% | 1.283% | 0.06098% | 1.093% | 1.045% | 0.04814% | 0.2534% | 0.2268% | 0.02668% | 0.1072% | 0.09403% | 0.01317% | -2.98% | -3.018% | 0.03813%
Maine | 1.377% | 1.363% | 0.0136% | 1.349% | 1.335% | 0.0137% | 1.348% | 1.336% | 0.01228% | 1.302% | 1.295% | 0.007056% | -1.14% | -1.132% | -0.00792% | -1.316% | -1.313% | -0.003049%
California | 1.165% | 1.118% | 0.04672% | 1.141% | 1.097% | 0.0445% | 1.104% | 1.062% | 0.04246% | 0.8958% | 0.8639% | 0.0319% | -7.996% | -7.865% | -0.1312% | -7.92% | -7.803% | -0.1171%
Taiwan | 0.5476% | 0.5919% | -0.04424% | 0.4816% | 0.5231% | -0.04155% | 0.489% | 0.5195% | -0.03048% | -1.276% | -1.307% | 0.03044% | -8.679% | -8.718% | 0.03948% | -8.255% | -8.285% | 0.02968%
uncertainty percentages are in percentage gain, not in percentage difference (see tables below in cells C80 etc)
| Wind Roses | [13 empty] | Charts
| Chile | [5 empty] | HornsRev
| Taiwan | [5 empty] | New Zealand
| California | [5 empty] | Maine
[7 empty] | 6 month |  |  |  | 1- year |  |  |  | spliced full year vortex (two nearby sites)
(is there a way to get a full years data from Vortex for this one site?)
|  | 2.3778 | 2.2955 | 3.4594 | 2.3829 | 2.301 | 3.4375 | 2.3802 | 2.2984 | 3.4339 | 2.4005 | 2.3147 | 3.5745 | 2.3063 | 2.2123 | 4.0785 | 2.0143 | 1.9305 | 4.1608
|  | 1.6049 | 1.5408 | 3.9976 | 1.3441 | 1.2831 | 4.5372 | 1.0928 | 1.0447 | 4.4048 | 0.25343 | 0.22675 | 10.526 | 0.1072 | 0.094032 | 12.2851 | -2.9799 | -3.018 | -1.2795
|  | 2.2691 | 2.1269 | 6.2662 | 2.2779 | 2.133 | 6.358 | 2.2837 | 2.1371 | 6.4225 | 2.1079 | 1.9739 | 6.3584 | 1.8966 | 1.7695 | 6.7011 | 1.7641 | 1.6582 | 6.0014
|  | 1.1648 | 1.1181 | 4.0113 | 1.1413 | 1.0968 | 3.899 | 1.1044 | 1.0619 | 3.845 | 0.89582 | 0.86393 | 3.5604 | -7.9959 | -7.8647 | 1.6404 | -7.9204 | -7.8033 | 1.4781
|  | 0.54763 | 0.59188 | -8.0793 | 0.48157 | 0.52312 | -8.6275 | 0.48904 | 0.51952 | -6.2337 | -1.2763 | -1.3067 | -2.3852 | -8.6789 | -8.7183 | -0.45491 | -8.2549 | -8.2846 | -0.35952
|  | 2.378% | 2.296% | 3.459% | 2.383% | 2.301% | 3.437% | 2.38% | 2.298% | 3.434% | 2.4% | 2.315% | 3.575% | 2.306% | 2.212% | 4.078% | 2.014% | 1.93% | 4.161%
|  | 1.605% | 1.541% | 3.998% | 1.344% | 1.283% | 4.537% | 1.093% | 1.045% | 4.405% | 0.2534% | 0.2268% | 10.53% | 0.1072% | 0.09403% | 12.29% | -2.98% | -3.018% | -1.28%
|  | 2.269% | 2.127% | 6.266% | 2.278% | 2.133% | 6.358% | 2.284% | 2.137% | 6.423% | 2.108% | 1.974% | 6.358% | 1.897% | 1.77% | 6.701% | 1.764% | 1.658% | 6.001%
|  | 1.165% | 1.118% | 4.011% | 1.141% | 1.097% | 3.899% | 1.104% | 1.062% | 3.845% | 0.8958% | 0.8639% | 3.56% | -7.996% | -7.865% | 1.64% | -7.92% | -7.803% | 1.478%
|  | 0.5476% | 0.5919% | -8.079% | 0.4816% | 0.5231% | -8.628% | 0.489% | 0.5195% | -6.234% | -1.276% | -1.307% | -2.385% | -8.679% | -8.718% | -0.4549% | -8.255% | -8.285% | -0.3595%
|  | 1.363% | 1.377% | 0.9977% | 1.335% | 1.349% | 1.027% | 1.336% | 1.348% | 0.9189% | 1.295% | 1.302% | 0.5449% | -1.132% | -1.14% | 0.6995% | -1.313% | -1.316% | 0.2323%
|  |  |  | 0.08226% |  |  | 0.08191% |  |  | 0.08173% |  |  | 0.08581% |  |  | 0.09406% |  |  | 0.08381%
|  |  |  | 0.06416% |  |  | 0.06098% |  |  | 0.04814% |  |  | 0.02668% |  |  | 0.01317% |  |  | 0.03813%
|  |  |  | 0.1422% |  |  | 0.1448% |  |  | 0.1467% |  |  | 0.134% |  |  | 0.1271% |  |  | 0.1059%
|  |  |  | 0.04672% |  |  | 0.0445% |  |  | 0.04246% |  |  | 0.0319% |  |  | -0.1312% |  |  | -0.1171%
|  |  |  | -0.04424% |  |  | -0.04155% |  |  | -0.03048% |  |  | 0.03044% |  |  | 0.03948% |  |  | 0.02968%
|  |  |  | 0.0136% |  |  | 0.0137% |  |  | 0.01228% |  |  | 0.007056% |  |  | -0.00792% |  |  | -0.003049%

## Finance Main
[5 empty] | % AEP Gain | [5 empty] | GWh/a Gain | [5 empty] | Subsidy |  | Monetary Gain $/Ann. | #VALUE! | 1.2851 |  |  |  | NPV | PV-Investment | or | CF/(1+r)^t-invest |  |  | IRR | Not Accounting For Discount Rate |  |  | essentially an inverse to payback period |  | Optionality of mooring and dynamic cable systems to facilitate
[5 empty] | Directional Sensitivity (degrees) | [5 empty] | Dir Sens (Deg) | [5 empty] | £/GWh | $/GWh | Dir Sens (Deg) | [5 empty] | Discount Rate, rd: | 0.075 | Farm Lifespan, t: | 20 |  |  | Farm Lifespan, t: | 20 | [5 empty] | Cost/ benefit | Questions for Apollo
| character | Base AEP (TWh/an.) | Base AEP (GWh/a) | Capacity Factor | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 | 2024 SUNAK | https://www.gov.uk/government/news/boost-for-offshore-wind-as-government-raises-maximum-prices-in-renewable-energy-auction#:~:text=The%20maximum%20strike%20price%20has,6%20(%20AR6%20)%20next%20year. | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 |  |  | Limitation of mooring line radius
Chile | diurnal bif | 1.6597 | 1659.6916 | 50.52% | 2.378% | 2.383% | 2.38% | 2.4% | 2.306% | 2.014% | 39.4636 | 39.5487 | 39.5035 | 39.8408 | 38.278 | 33.4308 | 146000 | 187624.6 | 7404348.4558 | 7420299.6796 | 7411825.3088 | 7475114.3561 | 7181888.1265 | 6272443.1545 | 81144833.8294 | 81319644.5384 | 81226773.246 | 81920362.8656 | 78706873.6821 | 68740195.105 | 40.58% | 40.67% | 40.62% | 40.97% | 39.36% | 34.38%
New Zealand | broad bif | 1.9081 | 1908.0552 | 58.08% | 2.269% | 2.278% | 2.284% | 2.108% | 1.897% | 1.764% | 43.2959 | 43.4628 | 43.5748 | 40.22 | 36.1889 | 33.6599 | 146000 | 187624.6 | 8123381.8524 | 8154694.7388 | 8175698.2481 | 7546269.0696 | 6789923.7017 | 6315422.1179 | 89024777.0598 | 89367937.4303 | 89598116.5317 | 82700152.9362 | 74411304.894 | 69211204.9269 | 13.54% | 13.59% | 13.63% | 12.58% | 11.32% | 10.53%
HornsRev | broad | 2.2515 | 2251.4665 | 68.54% | 1.605% | 1.344% | 1.093% | 0.2534% | 0.1072% | -2.98% | 36.1348 | 30.2621 | 24.6039 | 5.7059 | 2.4136 | -67.0907 | 146000 | 187624.6 | 6779785.8134 | 5677914.0734 | 4616289.8689 | 1070564.2085 | 452851.8312 | -12587858.2701 | 74300202.9841 | 62224704.4064 | 50590281.7185 | 11732396.8907 | 4962838.6359 | -137951323.2921 | 11.3% | 9.463% | 7.694% | 1.784% | 0.7548% | -20.98%
Maine | seasonal/broad | 1.9059 | 1905.9223 | 58.02% | 1.377% | 1.349% | 1.348% | 1.302% | -1.14% | -1.316% | 26.2449 | 25.7075 | 25.6972 | 24.8136 | -21.732 | -25.0763 | 146000 | 187624.6 | 4924193.6574 | 4823361.6681 | 4821431.5777 | 4655649.4495 | -4077463.88 | -4704928.0599 | 53964623.4183 | 52859597.7616 | 52838445.7496 | 51021626.4411 | -44685245.5636 | -51561674.5867 | 8.207% | 8.039% | 8.036% | 7.759% | -6.796% | -7.842%
California | broad mono | 1.7732 | 1773.2181 | 53.98% | 1.165% | 1.141% | 1.104% | 0.8958% | -7.996% | -7.92% | 20.6545 | 20.2384 | 19.5829 | 15.8849 | -141.7843 | -140.4461 | 146000 | 187624.6 | 3875290.0024 | 3797228.2867 | 3674238.9279 | 2980395.4334 | -26602225.4988 | -26351142.1794 | 42469606.2272 | 41614121.7797 | 40266271.7769 | 32662386.6543 | -291535869.8318 | -288784228.0967 | 6.459% | 6.329% | 6.124% | 4.967% | -44.34% | -43.92%
Taiwan | narrow mono | 2.2405 | 2240.4575 | 68.2% | 0.5476% | 0.4816% | 0.489% | -1.276% | -8.679% | -8.255% | 12.2695 | 10.7894 | 10.9567 | -28.5939 | -194.4462 | -184.9483 | 146000 | 187624.6 | 2302051.174 | 2024349.8376 | 2055737.4864 | -5364928.1205 | -36482892.9664 | -34700852.9683 | 25228358.8618 | 22185008.1973 | 22528987.8952 | -58794666.8696 | -399818877.3873 | -380289361.6727 | 3.837% | 3.374% | 3.426% | -8.942% | -60.8% | -57.83%
[25 empty] | FV | [5 empty] | Payback Period | (Years)
[21 empty] | discount rate from |  |  |  | Interest Rate, ri: | 0.03 | Farm Lifespan, t: | 20
[21 empty] | https://www.grantthornton.global/globalassets/1.-member-firms/united-kingdom/pdf/documents/renewable-energy-discount-rate-survey-2017.pdf |  |  |  | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
|  |  | The following assessments are made or informed by my convesations with Will Brindley and Nigel Robinson, of Apollo Engineering. | [20 empty] | Chile | 36100697.6162 | 36107479.7947 | 36103876.642 | 36130786.0267 | 36006111.4148 | 35619431.4812 | 2.4641 | 2.4588 | 2.4616 | 2.4408 | 2.5404 | 2.9088
|  |  | Category |  | Technology Name | CapEx Cost Factor | per unit ____ | OpEx Cost Factor | per unit _____ | Tech Ready Level (1->9) | Movement Freq./Downtime | Horizontal Excursion Limits | Depth Limits | Scaling Limits | Logistical Limits | [8 empty] | New Zealand | 111820592.5159 | 111833906.2019 | 111842836.5229 | 111575214.3573 | 111253629.6703 | 111051879.9807 | 7.3861 | 7.3577 | 7.3388 | 7.9509 | 8.8366 | 9.5006
|  |  | Moorings |  | Shared Moorings |  | turbine or km |  | turbine or km | 6 | N/A | 100-300m | N/A? | series loads | small arrays | [8 empty] | HornsRev | 111249319.2194 | 110780822.824 | 110329438.9695 | 108821859.0663 | 108559218.6776 | 103014539.1523 | 8.8498 | 10.5673 | 12.9975 | 56.0452 | 132.4937 | nan
[5 empty] | Apollo PALM Disconnector | competative | turbine | competative+ tug vessel | turbine | 7 | 6hr operation per turbine per connect OR Disconnect | unlimited |  | N/A | tug/vessel | [8 empty] | Maine | 110460354.2202 | 110417482.2399 | 110416661.5995 | 110346173.9678 | 106633008.4811 | 106366221.7981 | 12.1847 | 12.4395 | 12.4444 | 12.8876 | nan | nan
[24 empty] | California | 110014378.9186 | 109981188.4564 | 109928895.554 | 109633885.5593 | 97055877.8195 | 97162634.0106 | 15.4827 | 15.801 | 16.3299 | 20.1316 | nan | nan
|  |  | Cabling |  | Dynamic Cable | 1.2 shielding, +extended w and bouyancy | turbine or km | likely higher | turbine or km | 7 | N/A | 700m? | N/A | N/A? | [9 empty] | Taiwan | 109345465.5656 | 109227391.8639 | 109240737.3376 | 106085601.4336 | 92854792.5888 | 93612484.51 | 26.0637 | 29.6391 | 29.1866 | nan | nan | nan
[25 empty] | Initial CapEx Cost | [5 empty] | Net Upgrade Investment CapEx
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
|  |  | Controls |  | Novel SCADA | N/A | turbine or farm | N/A | turbine or farm | 8 | N/A | N/A | N/A | N/A | N/A | [8 empty] | Chile | 113362000 | 113362000 | 113362000 | 113362000 | 113362000 | 113362000 | 18245000 | 18245000 | 18245000 | 18245000 | 18245000 | 18245000
[5 empty] | Winching (?) | 200k-500k * Lines | turbine |  | turbine or adjustment | 10 | 100m/min | 700m, depth dependent | 2000m/700m excursion | 200 tonnes | [9 empty] | New Zealand | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Manual/Boat (?) | competative PALM | farm | half-day per turbine, plus 2 day muster and return, at 100k/day | farm or adjustment | 10 | half-day per turbine | unlimited | unlimited | N/A | OpEx Cost | [8 empty] | HornsRev | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[24 empty] | Maine | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
|  |  | Speculative/Passive |  | Wake Thrusting (??) |  | turbine |  | turbine | 1 or 2 | [13 empty] | California | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Sails (??) |  | turbine |  | turbine | 1 or 2 | [13 empty] | Taiwan | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Magnus Effect Rotor (???) |  | turbine |  | turbine | 1 or 2 | [14 empty] | Extreme CapEx Cost
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90 |  | Comparison to calculations from Houck 2022
[24 empty] | Chile | 131607000 | 131607000 | 131607000 | 131607000 | 131607000 | 131607000 |  | Houck's Numbers |  |  | My Numbers
|  |  | second order effects on mooring systems | [20 empty] | New Zealand | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | initial capacity factor | 50% |  | my initial capacity | 50.52%
[24 empty] | HornsRev | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | improvement | 1% |  | improvement | 2.378%
[24 empty] | Maine | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | effective capacity factor | 51% |  | effective capacity factor | 52.9%
| 15 |  | MWh | [20 empty] | California | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | power | 650 | GW | power | 0.375 | GW
| 25 |  | Turb | [20 empty] | Taiwan | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | initial energy | 2847000 | GWh | initial energy | 1659.6916 | GWh
| 0.5 |  | CF | [28 empty] | energy gain | 56940 | GWh | energy gain | 78.1097 | GWh
| 1642500 |  | MWh/An | [28 empty] | energy total | 2903940 | GWh | energy total | 1737.8013 | GWh
| 1642.5 |  | GWh/An | [21 empty] | Chile Initial | Chile Extreme | Delta |  |  |  |  | value | 1100000000 |  | value | 1508968.8199 | annually @
[24 empty] | Cables | 88362000 | 93607000 | 5245000 |  |  |  |  | assumed PPA | 20 | pound/MWh | assumed PPA | 20 | pound/MWh
[24 empty] | Mooring system | 25000000 | 38000000 | 13000000 | [6 empty] | with | actual FOWF CFD | 146 | pound/MWh
[24 empty] | sum | 113362000 | 131607000 | 18245000 | [7 empty] | CFD Value | 11015472.3851 | annually per farm
[5 empty] | number of movements | [6 empty] | No. Daily Movements
[5 empty] | dir sensitivity | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
[5 empty] | (degrees) | 3215 | 1826 | 1291 | 929 | 633 | 380 | 17.6164 | 10.0055 | 7.074 | 5.0904 | 3.4685 | 2.0822
[6 empty] | 3245 | 1766 | 1110 | 596 | 292 | 110 | 17.7808 | 9.6767 | 6.0822 | 3.2658 | 1.6 | 0.60274
[6 empty] | 3070 | 1646 | 1044 | 582 | 314 | 158 | 16.8219 | 9.0192 | 5.7205 | 3.189 | 1.7205 | 0.86575
[6 empty] | 3062 | 1512 | 905 | 472 | 233 | 111 | 16.7781 | 8.2849 | 4.9589 | 2.5863 | 1.2767 | 0.60822
[6 empty] | 2825 | 1348 | 804 | 441 | 217 | 117 | 15.4795 | 7.3863 | 4.4055 | 2.4164 | 1.189 | 0.6411
Note on AB2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.grantthornton.global/en/insights/articles/tipping-point-to-grid-parity/#:~:text=Some%20key%20results%20of%20the,wind%20and%20offshore%20wind%20respectively

## Finance with Optimal CfD
[5 empty] | % AEP Gain | [5 empty] | GWh/a Gain | [5 empty] | Subsidy |  | Monetary Gain $/Ann. | #VALUE! | 1.2851 |  |  |  | NPV | PV-Investment | or | CF/(1+r)^t-invest |  |  | IRR | Not Accounting For Discount Rate |  |  | essentially an inverse to payback period |  | Optionality of mooring and dynamic cable systems to facilitate
[5 empty] | Directional Sensitivity (degrees) | [5 empty] | Dir Sens (Deg) | [5 empty] | £/GWh | $/GWh | Dir Sens (Deg) | [5 empty] | Discount Rate, rd: | 0.075 | Farm Lifespan, t: | 20 |  |  | Farm Lifespan, t: | 20 | [5 empty] | Cost/ benefit | Questions for Apollo
| character | Base AEP (TWh/an.) | Base AEP (GWh/a) | Capacity Factor | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 | 2024 SUNAK | https://www.gov.uk/government/news/boost-for-offshore-wind-as-government-raises-maximum-prices-in-renewable-energy-auction#:~:text=The%20maximum%20strike%20price%20has,6%20(%20AR6%20)%20next%20year. | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 |  |  | Limitation of mooring line radius
Chile | diurnal bif | 1.6597 | 1659.6916 | 50.52% | 2.378% | 2.383% | 2.38% | 2.4% | 2.306% | 2.014% | 39.4636 | 39.5487 | 39.5035 | 39.8408 | 38.278 | 33.4308 | 176000 | 226177.6 | 8925789.9193 | 8945018.7918 | 8934803.1119 | 9011096.758 | 8657618.5635 | 7561301.3369 | 79573429.8218 | 79784160.5394 | 79672206.1048 | 80508314.1393 | 76634518.9593 | 64619892.7294 | 48.92% | 49.03% | 48.97% | 49.39% | 47.45% | 41.44%
New Zealand | broad bif | 1.9081 | 1908.0552 | 58.08% | 2.269% | 2.278% | 2.284% | 2.108% | 1.897% | 1.764% | 43.2959 | 43.4628 | 43.5748 | 40.22 | 36.1889 | 33.6599 | 176000 | 226177.6 | 9792569.9043 | 9830316.9454 | 9855636.2443 | 9096872.3031 | 8185113.5034 | 7613111.5942 | 47317539.4694 | 47731212.2447 | 48008688.4218 | 39693335.0464 | 29701299.0503 | 23432685.3913 | 16.32% | 16.38% | 16.43% | 15.16% | 13.64% | 12.69%
HornsRev | broad | 2.2515 | 2251.4665 | 68.54% | 1.605% | 1.344% | 1.093% | 0.2534% | 0.1072% | -2.98% | 36.1348 | 30.2621 | 24.6039 | 5.7059 | 2.4136 | -67.0907 | 176000 | 226177.6 | 8172892.4874 | 6844608.746 | 5564842.5817 | 1290543.1554 | 545903.5773 | -15174404.4899 | 29567367.9809 | 15010602.5721 | 985545.0854 | -45856836.6249 | -54017400.0006 | -226297485.6124 | 13.62% | 11.41% | 9.275% | 2.151% | 0.9098% | -25.29%
Maine | seasonal/broad | 1.9059 | 1905.9223 | 58.02% | 1.377% | 1.349% | 1.348% | 1.302% | -1.14% | -1.316% | 26.2449 | 25.7075 | 25.6972 | 24.8136 | -21.732 | -25.0763 | 176000 | 226177.6 | 5936014.2719 | 5814463.3808 | 5812136.6964 | 5612289.7474 | -4915298.9238 | -5671694.0997 | 5053244.6687 | 3721158.9454 | 3695660.6297 | 1505522.2851 | -113867145.3369 | -122156539.2278 | 9.893% | 9.691% | 9.687% | 9.354% | -8.192% | -9.453%
California | broad mono | 1.7732 | 1773.2181 | 53.98% | 1.165% | 1.141% | 1.104% | 0.8958% | -7.996% | -7.92% | 20.6545 | 20.2384 | 19.5829 | 15.8849 | -141.7843 | -140.4461 | 176000 | 226177.6 | 4671582.4687 | 4577480.6744 | 4429219.5295 | 3592805.4539 | -32068436.2178 | -31765760.4354 | -8803762.3563 | -9835031.2792 | -11459836.7621 | -20626164.0332 | -411440500.6192 | -408123453.0481 | 7.786% | 7.629% | 7.382% | 5.988% | -53.45% | -52.94%
Taiwan | narrow mono | 2.2405 | 2240.4575 | 68.2% | 0.5476% | 0.4816% | 0.489% | -1.276% | -8.679% | -8.255% | 12.2695 | 10.7894 | 10.9567 | -28.5939 | -194.4462 | -184.9483 | 176000 | 226177.6 | 2775075.3878 | 2440312.133 | 2478149.2987 | -6467310.611 | -43979377.8225 | -41831165.2221 | -29587731.7831 | -33256428.4744 | -32841768.0168 | -130875762.8017 | -541973441.2341 | -518431011.3315 | 4.625% | 4.067% | 4.13% | -10.78% | -73.3% | -69.72%
[25 empty] | FV | [5 empty] | Payback Period | (Years)
[21 empty] | discount rate from |  |  |  | Interest Rate, ri: | 0.03 | Farm Lifespan, t: | 20
[21 empty] | https://www.grantthornton.global/globalassets/1.-member-firms/united-kingdom/pdf/documents/renewable-energy-discount-rate-survey-2017.pdf |  |  |  | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
[24 empty] | Chile | 36747587.6449 | 36755763.4218 | 36751419.8952 | 36783858.6055 | 36633565.9226 | 36167431.2082 | 2.0441 | 2.0397 | 2.042 | 2.0247 | 2.1074 | 2.4129
|  |  | Category |  | Technology Name | CapEx Cost Factor | per unit ____ | OpEx Cost Factor | per unit _____ | Tech Ready Level (1->9) | Movement Freq./Downtime | Horizontal Excursion Limits | Depth Limits | Scaling Limits | Logistical Limits | [8 empty] | New Zealand | 112530301.7835 | 112546351.1584 | 112557116.4769 | 112234503.4554 | 111846839.7231 | 111603634.6178 | 6.1271 | 6.1036 | 6.0879 | 6.5957 | 7.3304 | 7.8811
|  |  | Moorings |  | Shared Moorings |  | turbine or km |  | turbine or km | 6 | N/A | 100-300m | N/A? | series loads | small arrays | [8 empty] | HornsRev | 111841643.5631 | 111276880.785 | 110732746.8235 | 108915390.2279 | 108598782.6359 | 101914785.4 | 7.3413 | 8.766 | 10.782 | 46.4921 | 109.9095 | nan
[5 empty] | Apollo PALM Disconnector | competative | turbine | competative+ tug vessel | turbine | 7 | 6hr operation per turbine per connect OR Disconnect | unlimited |  | N/A | tug/vessel | [8 empty] | Maine | 110890562.4681 | 110838881.1768 | 110837891.9117 | 110752920.52 | 106276775.8237 | 105955169.9593 | 10.1078 | 10.3191 | 10.3232 | 10.6908 | nan | nan
[24 empty] | California | 110352948.406 | 110312937.9857 | 110249899.9664 | 109894271.4797 | 94731741.6015 | 94860433.9963 | 12.8436 | 13.1076 | 13.5464 | 16.7 | nan | nan
|  |  | Cabling |  | Dynamic Cable | 1.2 shielding, +extended w and bouyancy | turbine or km | likely higher | turbine or km | 7 | N/A | 700m? | N/A | N/A? | [9 empty] | Taiwan | 109546587.1037 | 109404251.6825 | 109420339.3768 | 105616887.876 | 89667419.6796 | 90580801.7216 | 21.621 | 24.587 | 24.2116 | nan | nan | nan
[25 empty] | Initial CapEx Cost | [5 empty] | Net Upgrade Investment CapEx
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
|  |  | Controls |  | Novel SCADA | N/A | turbine or farm | N/A | turbine or farm | 8 | N/A | N/A | N/A | N/A | N/A | [8 empty] | Chile | 113362000 | 113362000 | 113362000 | 113362000 | 113362000 | 113362000 | 18245000 | 18245000 | 18245000 | 18245000 | 18245000 | 18245000
[5 empty] | Winching (?) | 200k-500k * Lines | turbine |  | turbine or adjustment | 10 | 100m/min | 700m, depth dependent | 2000m/700m excursion | 200 tonnes | [9 empty] | New Zealand | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Manual/Boat (?) | competative PALM | farm | half-day per turbine, plus 2 day muster and return, at 100k/day | farm or adjustment | 10 | half-day per turbine | unlimited | unlimited | N/A | OpEx Cost | [8 empty] | HornsRev | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[24 empty] | Maine | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
|  |  | Speculative/Passive |  | Wake Thrusting (??) |  | turbine |  | turbine | 1 or 2 | [13 empty] | California | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Sails (??) |  | turbine |  | turbine | 1 or 2 | [13 empty] | Taiwan | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Magnus Effect Rotor (???) |  | turbine |  | turbine | 1 or 2 | [14 empty] | Extreme CapEx Cost
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90 |  | Comparison to calculations from Houck 2022
[24 empty] | Chile | 131607000 | 131607000 | 131607000 | 131607000 | 131607000 | 131607000 |  | Houck's Numbers |  |  | My Numbers
[24 empty] | New Zealand | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | initial capacity factor | 50% |  | my initial capacity | 50.52%
[24 empty] | HornsRev | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | improvement | 1% |  | improvement | 2.378%
[24 empty] | Maine | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | effective capacity factor | 51% |  | effective capacity factor | 52.9%
| 15 |  | MWh | [20 empty] | California | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | power | 650 | GW | power | 0.375 | GW
| 25 |  | Turb | [20 empty] | Taiwan | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | initial energy | 2847000 | GWh | initial energy | 1659.6916 | GWh
| 0.5 |  | CF | [28 empty] | energy gain | 56940 | GWh | energy gain | 78.1097 | GWh
| 1642500 |  | MWh/An | [28 empty] | energy total | 2903940 | GWh | energy total | 1737.8013 | GWh
| 1642.5 |  | GWh/An | [21 empty] | Chile Initial | Chile Extreme | Delta |  |  |  |  | value | 1100000000 |  | value | 1508968.8199
[24 empty] | Cables | 88362000 | 93607000 | 5245000 |  |  |  |  | assumed PPA | 20 | pound/MWh | assumed PPA | 20 | pound/MWh
[24 empty] | Mooring system | 25000000 | 38000000 | 13000000 | [7 empty] | actual FOWF CFD | 146 | pound/MWh
[24 empty] | sum | 113362000 | 131607000 | 18245000 | [7 empty] | CFD Value | 11015472.3851
[5 empty] | number of movements | [6 empty] | No. Daily Movements
[5 empty] | dir sensitivity | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
[5 empty] | (degrees) | 3215 | 1826 | 1291 | 929 | 633 | 380 | 17.6164 | 10.0055 | 7.074 | 5.0904 | 3.4685 | 2.0822
[6 empty] | 3245 | 1766 | 1110 | 596 | 292 | 110 | 17.7808 | 9.6767 | 6.0822 | 3.2658 | 1.6 | 0.60274
[6 empty] | 3070 | 1646 | 1044 | 582 | 314 | 158 | 16.8219 | 9.0192 | 5.7205 | 3.189 | 1.7205 | 0.86575
[6 empty] | 3062 | 1512 | 905 | 472 | 233 | 111 | 16.7781 | 8.2849 | 4.9589 | 2.5863 | 1.2767 | 0.60822
[6 empty] | 2825 | 1348 | 804 | 441 | 217 | 117 | 15.4795 | 7.3863 | 4.4055 | 2.4164 | 1.189 | 0.6411
Note on AB2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.grantthornton.global/en/insights/articles/tipping-point-to-grid-parity/#:~:text=Some%20key%20results%20of%20the,wind%20and%20offshore%20wind%20respectively

## Finance with Pessimistic CfD
[5 empty] | % AEP Gain | [5 empty] | GWh/a Gain | [5 empty] | Subsidy |  | Monetary Gain $/Ann. | #VALUE! | 1.2851 |  |  |  | NPV | PV-Investment | or | CF/(1+r)^t-invest |  |  | IRR | Not Accounting For Discount Rate |  |  | essentially an inverse to payback period |  | Optionality of mooring and dynamic cable systems to facilitate
[5 empty] | Directional Sensitivity (degrees) | [5 empty] | Dir Sens (Deg) | [5 empty] | £/GWh | $/GWh | Dir Sens (Deg) | [5 empty] | Discount Rate, rd: | 0.075 | Farm Lifespan, t: | 20 |  |  | Farm Lifespan, t: | 20 | [5 empty] | Cost/ benefit | Questions for Apollo
| character | Base AEP (TWh/an.) | Base AEP (GWh/a) | Capacity Factor | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 | 2024 SUNAK | https://www.gov.uk/government/news/boost-for-offshore-wind-as-government-raises-maximum-prices-in-renewable-energy-auction#:~:text=The%20maximum%20strike%20price%20has,6%20(%20AR6%20)%20next%20year. | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 |  |  | Limitation of mooring line radius
Chile | diurnal bif | 1.6597 | 1659.6916 | 50.52% | 2.378% | 2.383% | 2.38% | 2.4% | 2.306% | 2.014% | 39.4636 | 39.5487 | 39.5035 | 39.8408 | 38.278 | 33.4308 | 116000 | 149071.6 | 5882906.9923 | 5895580.5673 | 5888847.5056 | 5939131.9542 | 5706157.6896 | 4983584.9721 | 46226237.8371 | 46365128.5373 | 46291340.3872 | 46842411.5918 | 44289228.405 | 36370497.4807 | 32.24% | 32.31% | 32.28% | 32.55% | 31.28% | 27.31%
New Zealand | broad bif | 1.9081 | 1908.0552 | 58.08% | 2.269% | 2.278% | 2.284% | 2.108% | 1.897% | 1.764% | 43.2959 | 43.4628 | 43.5748 | 40.22 | 36.1889 | 33.6599 | 116000 | 149071.6 | 6454193.8006 | 6479072.5322 | 6495760.2519 | 5995665.8361 | 5394733.8999 | 5017732.6417 | 10732014.6503 | 11004662.6158 | 11187544.6417 | 5706970.8261 | -878689.2623 | -5010275.5376 | 10.76% | 10.8% | 10.83% | 9.993% | 8.991% | 8.363%
HornsRev | broad | 2.2515 | 2251.4665 | 68.54% | 1.605% | 1.344% | 1.093% | 0.2534% | 0.1072% | -2.98% | 36.1348 | 30.2621 | 24.6039 | 5.7059 | 2.4136 | -67.0907 | 116000 | 149071.6 | 5386679.1394 | 4511219.4008 | 3667737.1561 | 850585.2615 | 359800.085 | -10001312.0502 | -966962.0126 | -10561193.7593 | -19804981.6483 | -50678369.5937 | -56056922.7276 | -169605160.9718 | 8.978% | 7.519% | 6.113% | 1.418% | 0.5997% | -16.67%
Maine | seasonal/broad | 1.9059 | 1905.9223 | 58.02% | 1.377% | 1.349% | 1.348% | 1.302% | -1.14% | -1.316% | 26.2449 | 25.7075 | 25.6972 | 24.8136 | -21.732 | -25.0763 | 116000 | 149071.6 | 3912373.0429 | 3832259.9555 | 3830726.459 | 3699009.1517 | -3239628.8361 | -3738162.0202 | -17123997.832 | -18001963.4223 | -18018769.1304 | -19462269.403 | -95503345.7903 | -100966809.9456 | 6.521% | 6.387% | 6.385% | 6.165% | -5.399% | -6.23%
California | broad mono | 1.7732 | 1773.2181 | 53.98% | 1.165% | 1.141% | 1.104% | 0.8958% | -7.996% | -7.92% | 20.6545 | 20.2384 | 19.5829 | 15.8849 | -141.7843 | -140.4461 | 116000 | 149071.6 | 3078997.5362 | 3016975.899 | 2919258.3263 | 2367985.4128 | -21136014.7799 | -20936523.9234 | -26257025.1894 | -26936725.1613 | -28007619.6841 | -34049062.6582 | -291631239.0444 | -289445003.1454 | 5.132% | 5.028% | 4.865% | 3.947% | -35.23% | -34.89%
Taiwan | narrow mono | 2.2405 | 2240.4575 | 68.2% | 0.5476% | 0.4816% | 0.489% | -1.276% | -8.679% | -8.255% | 12.2695 | 10.7894 | 10.9567 | -28.5939 | -194.4462 | -184.9483 | 116000 | 149071.6 | 1829026.9602 | 1608387.5422 | 1633325.6741 | -4262545.63 | -28986408.1103 | -27570540.7146 | -39955550.4934 | -42373555.1309 | -42100256.1929 | -106713570.9375 | -377664313.5406 | -362147712.0139 | 3.048% | 2.681% | 2.722% | -7.104% | -48.31% | -45.95%
[25 empty] | FV | [5 empty] | Payback Period | (Years)
[21 empty] | discount rate from |  |  |  | Interest Rate, ri: | 0.03 | Farm Lifespan, t: | 20
[21 empty] | https://www.grantthornton.global/globalassets/1.-member-firms/united-kingdom/pdf/documents/renewable-energy-discount-rate-survey-2017.pdf |  |  |  | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
[24 empty] | Chile | 35453807.5875 | 35459196.1677 | 35456333.3888 | 35477713.4479 | 35378656.9069 | 35071431.7542 | 3.1014 | 3.0947 | 3.0982 | 3.072 | 3.1974 | 3.661
|  |  | Category |  | Technology Name | CapEx Cost Factor | per unit ____ | OpEx Cost Factor | per unit _____ | Tech Ready Level (1->9) | Movement Freq./Downtime | Horizontal Excursion Limits | Depth Limits | Scaling Limits | Logistical Limits | [8 empty] | New Zealand | 111110883.2483 | 111121461.2454 | 111128556.569 | 110915925.2593 | 110660419.6176 | 110500125.3436 | 9.2963 | 9.2606 | 9.2368 | 10.0072 | 11.122 | 11.9576
|  |  | Moorings |  | Shared Moorings |  | turbine or km |  | turbine or km | 6 | N/A | 100-300m | N/A? | series loads | small arrays | [8 empty] | HornsRev | 110656994.8757 | 110284764.8629 | 109926131.1155 | 108728327.9048 | 108519654.7192 | 104114292.9046 | 11.1386 | 13.3002 | 16.3589 | 70.5397 | 166.7593 | nan
[5 empty] | Apollo PALM Disconnector | competative | turbine | competative+ tug vessel | turbine | 7 | 6hr operation per turbine per connect OR Disconnect | unlimited |  | N/A | tug/vessel | [8 empty] | Maine | 110030145.9722 | 109996083.303 | 109995431.2873 | 109939427.4155 | 106989241.1384 | 106777273.6369 | 15.336 | 15.6566 | 15.6628 | 16.2206 | nan | nan
[24 empty] | California | 109675809.4313 | 109649438.927 | 109607891.1416 | 109373499.6389 | 99380014.0374 | 99464834.0249 | 19.4869 | 19.8875 | 20.5532 | 25.338 | nan | nan
|  |  | Cabling |  | Dynamic Cable | 1.2 shielding, +extended w and bouyancy | turbine or km | likely higher | turbine or km | 7 | N/A | 700m? | N/A | N/A? | [9 empty] | Taiwan | 109144344.0275 | 109050532.0453 | 109061135.2984 | 106554314.9911 | 96042165.498 | 96644167.2984 | 32.8043 | 37.3044 | 36.7349 | nan | nan | nan
[25 empty] | Initial CapEx Cost | [5 empty] | Net Upgrade Investment CapEx
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
|  |  | Controls |  | Novel SCADA | N/A | turbine or farm | N/A | turbine or farm | 8 | N/A | N/A | N/A | N/A | N/A | [8 empty] | Chile | 113362000 | 113362000 | 113362000 | 113362000 | 113362000 | 113362000 | 18245000 | 18245000 | 18245000 | 18245000 | 18245000 | 18245000
[5 empty] | Winching (?) | 200k-500k * Lines | turbine |  | turbine or adjustment | 10 | 100m/min | 700m, depth dependent | 2000m/700m excursion | 200 tonnes | [9 empty] | New Zealand | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Manual/Boat (?) | competative PALM | farm | half-day per turbine, plus 2 day muster and return, at 100k/day | farm or adjustment | 10 | half-day per turbine | unlimited | unlimited | N/A | OpEx Cost | [8 empty] | HornsRev | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[24 empty] | Maine | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
|  |  | Speculative/Passive |  | Wake Thrusting (??) |  | turbine |  | turbine | 1 or 2 | [13 empty] | California | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Sails (??) |  | turbine |  | turbine | 1 or 2 | [13 empty] | Taiwan | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Magnus Effect Rotor (???) |  | turbine |  | turbine | 1 or 2 | [14 empty] | Extreme CapEx Cost
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90 |  | Comparison to calculations from Houck 2022
[24 empty] | Chile | 131607000 | 131607000 | 131607000 | 131607000 | 131607000 | 131607000 |  | Houck's Numbers |  |  | My Numbers
[24 empty] | New Zealand | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | initial capacity factor | 50% |  | my initial capacity | 50.52%
[24 empty] | HornsRev | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | improvement | 1% |  | improvement | 2.378%
[24 empty] | Maine | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | effective capacity factor | 51% |  | effective capacity factor | 52.9%
| 15 |  | MWh | [20 empty] | California | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | power | 650 | GW | power | 0.375 | GW
| 25 |  | Turb | [20 empty] | Taiwan | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 |  | initial energy | 2847000 | GWh | initial energy | 1659.6916 | GWh
| 0.5 |  | CF | [28 empty] | energy gain | 56940 | GWh | energy gain | 78.1097 | GWh
| 1642500 |  | MWh/An | [28 empty] | energy total | 2903940 | GWh | energy total | 1737.8013 | GWh
| 1642.5 |  | GWh/An | [21 empty] | Chile Initial | Chile Extreme | Delta |  |  |  |  | value | 1100000000 |  | value | 1508968.8199
[24 empty] | Cables | 88362000 | 93607000 | 5245000 |  |  |  |  | assumed PPA | 20 | pound/MWh | assumed PPA | 20 | pound/MWh
[24 empty] | Mooring system | 25000000 | 38000000 | 13000000 | [7 empty] | actual FOWF CFD | 146 | pound/MWh
[24 empty] | sum | 113362000 | 131607000 | 18245000 | [7 empty] | CFD Value | 11015472.3851
[5 empty] | number of movements | [6 empty] | No. Daily Movements
[5 empty] | dir sensitivity | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
[5 empty] | (degrees) | 3215 | 1826 | 1291 | 929 | 633 | 380 | 17.6164 | 10.0055 | 7.074 | 5.0904 | 3.4685 | 2.0822
[6 empty] | 3245 | 1766 | 1110 | 596 | 292 | 110 | 17.7808 | 9.6767 | 6.0822 | 3.2658 | 1.6 | 0.60274
[6 empty] | 3070 | 1646 | 1044 | 582 | 314 | 158 | 16.8219 | 9.0192 | 5.7205 | 3.189 | 1.7205 | 0.86575
[6 empty] | 3062 | 1512 | 905 | 472 | 233 | 111 | 16.7781 | 8.2849 | 4.9589 | 2.5863 | 1.2767 | 0.60822
[6 empty] | 2825 | 1348 | 804 | 441 | 217 | 117 | 15.4795 | 7.3863 | 4.4055 | 2.4164 | 1.189 | 0.6411
Note on AB2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.grantthornton.global/en/insights/articles/tipping-point-to-grid-parity/#:~:text=Some%20key%20results%20of%20the,wind%20and%20offshore%20wind%20respectively

## Finance with 2X AEP
[5 empty] | % AEP Gain | [5 empty] | GWh/a Gain | [5 empty] | Subsidy |  | Monetary Gain $/Ann. | #VALUE! | 1.2851 |  |  |  | NPV | PV-Investment | or | CF/(1+r)^t-invest |  |  | IRR | Not Accounting For Discount Rate |  |  |  |  | Optionality of mooring and dynamic cable systems to facilitate
[5 empty] | Directional Sensitivity (degrees) | [5 empty] | Dir Sens (Deg) | [5 empty] | £/GWh | $/GWh | Dir Sens (Deg) | [5 empty] | Discount Rate, rd: | 0.075 | Farm Lifespan, t: | 20 |  |  | Farm Lifespan, t: | 20 | [5 empty] | Cost/ benefit | Questions for Apollo
| character | Base AEP (TWh/an.) | Base AEP (GWh/a) | Capacity Factor | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 | 2024 SUNAK | https://www.gov.uk/government/news/boost-for-offshore-wind-as-government-raises-maximum-prices-in-renewable-energy-auction#:~:text=The%20maximum%20strike%20price%20has,6%20(%20AR6%20)%20next%20year. | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90 |  |  | Limitation of mooring line radius
Chile | diurnal bif | 1.6597 | 1659.6916 | 50.52% | 4.756% | 4.766% | 4.76% | 4.801% | 4.613% | 4.029% | 78.9273 | 79.0973 | 79.007 | 79.6816 | 76.5559 | 66.8616 | 146000 | 187624.6 | 14808696.9116 | 14840599.3591 | 14823650.6175 | 14950228.7122 | 14363776.253 | 12544886.309 | 102289667.6588 | 102639289.0768 | 102453546.492 | 103840725.7312 | 97413747.3642 | 77480390.2101 | 24.68% | 24.73% | 24.71% | 24.92% | 23.94% | 20.91%
New Zealand | broad bif | 1.9081 | 1908.0552 | 58.08% | 4.538% | 4.556% | 4.567% | 4.216% | 3.793% | 3.528% | 86.5919 | 86.9256 | 87.1495 | 80.4401 | 72.3778 | 67.3198 | 146000 | 187624.6 | 16246763.7049 | 16309389.4776 | 16351396.4962 | 15092538.1392 | 13579847.4033 | 12630844.2359 | 118049554.1197 | 118735874.8606 | 119196233.0635 | 105400305.8725 | 88822609.7881 | 78422409.8537 | 27.08% | 27.18% | 27.25% | 25.15% | 22.63% | 21.05%
HornsRev | broad | 2.2515 | 2251.4665 | 68.54% | 3.21% | 2.688% | 2.186% | 0.5069% | 0.2144% | -5.96% | 72.2697 | 60.5242 | 49.2077 | 11.4118 | 4.8272 | -134.1813 | 146000 | 187624.6 | 13559571.6269 | 11355828.1468 | 9232579.7378 | 2141128.4169 | 905703.6623 | -25175716.5401 | 88600405.9683 | 64449408.8128 | 41180563.4371 | -36535206.2186 | -50074322.7282 | -335902646.5843 | 22.6% | 18.93% | 15.39% | 3.569% | 1.51% | -41.96%
Maine | seasonal/broad | 1.9059 | 1905.9223 | 58.02% | 2.754% | 2.698% | 2.697% | 2.604% | -2.28% | -2.631% | 52.4899 | 51.415 | 51.3945 | 49.6273 | -43.4641 | -50.1526 | 146000 | 187624.6 | 9848387.3148 | 9646723.3363 | 9642863.1554 | 9311298.8991 | -8154927.7599 | -9409856.1199 | 47929246.8367 | 45719195.5231 | 45676891.4993 | 42043252.8821 | -149370491.1272 | -163123349.1734 | 16.41% | 16.08% | 16.07% | 15.52% | -13.59% | -15.68%
California | broad mono | 1.7732 | 1773.2181 | 53.98% | 2.33% | 2.283% | 2.209% | 1.792% | -15.99% | -15.84% | 41.309 | 40.4769 | 39.1659 | 31.7698 | -283.5686 | -280.8922 | 146000 | 187624.6 | 7750580.0048 | 7594456.5734 | 7348477.8557 | 5960790.8667 | -53204450.9977 | -52702284.3588 | 24939212.4543 | 23228243.5595 | 20532543.5538 | 5324773.3086 | -643071739.6636 | -637568456.1935 | 12.92% | 12.66% | 12.25% | 9.935% | -88.67% | -87.84%
Taiwan | narrow mono | 2.2405 | 2240.4575 | 68.2% | 1.095% | 0.9631% | 0.9781% | -2.553% | -17.36% | -16.51% | 24.5389 | 21.5787 | 21.9133 | -57.1879 | -388.8924 | -369.8966 | 146000 | 187624.6 | 4604102.348 | 4048699.6753 | 4111474.9728 | -10729856.241 | -72965785.9328 | -69401705.9366 | -9543282.2764 | -15629983.6053 | -14942024.2097 | -177589333.7392 | -859637754.7747 | -820578723.3455 | 7.674% | 6.748% | 6.852% | -17.88% | -121.6% | -115.7%
FV
[25 empty] | Interest Rate, ri: | 0.03 | Farm Lifespan, t: | 20
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90
[25 empty] | 114663070.3595 | 114676634.7166 | 114669428.4111 | 114723247.1805 | 114473897.9566 | 113700538.0894
|  |  | Category |  | Technology Name | CapEx Cost Factor | per unit ____ | OpEx Cost Factor | per unit _____ | Tech Ready Level (1->9) | Movement Freq./Downtime | Horizontal Excursion Limits | Depth Limits | Scaling Limits | Logistical Limits | [9 empty] | 115274510.9516 | 115301138.3236 | 115318998.9657 | 114783754.6345 | 114140585.2605 | 113737085.8812
|  |  | Moorings |  | Shared Moorings |  | turbine or km |  | turbine or km | [15 empty] | 114131964.3586 | 113194971.5677 | 112292203.8589 | 109277044.0525 | 108751763.275 | 97662404.2244
[5 empty] | Apollo PALM Disconnector |  | turbine |  | turbine | [15 empty] | 112554034.3602 | 112468290.3996 | 112466649.1189 | 112325673.8554 | 104899342.882 | 104365769.516
[25 empty] | 111662083.7571 | 111595702.8325 | 111491117.0279 | 110901097.0385 | 85745081.5587 | 85958593.941
|  |  | Cabling |  | Dynamic Cable |  | turbine or km |  | turbine or km | [15 empty] | 110324257.0509 | 110088109.6476 | 110114800.595 | 103804528.7869 | 77342911.0974 | 78858294.9399
[25 empty] | Base CapEx Cost | [5 empty] | Net Upgrade Investment CapEx
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90 | 1 | 5 | 10 | 20 | 40 | 90
|  |  | Controls |  | Novel SCADA |  | turbine or farm |  | turbine or farm |  |  | N/A | N/A | N/A | N/A | [9 empty] | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Winching (?) |  | turbine |  | turbine or adjustment | [15 empty] | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Manual/Boat (?) |  | farm |  | farm or adjustment | [15 empty] | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[25 empty] | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
|  |  | Speculative/Passive |  | Wake Thrusting (??) |  | turbine |  | turbine | [15 empty] | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Sails (??) |  | turbine |  | turbine | [15 empty] | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 20000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000 | 60000000
[5 empty] | Magnus Effect Rotor (???) |  | turbine |  | turbine | [15 empty] | Extreme CapEx Cost
[25 empty] | 1 | 5 | 10 | 20 | 40 | 90
[25 empty] | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000
[25 empty] | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000
[25 empty] | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000
[25 empty] | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000
| 15 |  | MWh | [21 empty] | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000
| 25 |  | Turb | [21 empty] | 80000000 | 80000000 | 80000000 | 80000000 | 80000000 | 80000000
| 0.5 |  | CF
| 1642500 |  | MWh/An
| 1642.5 |  | GWh/An
Note on AB2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.grantthornton.global/en/insights/articles/tipping-point-to-grid-parity/#:~:text=Some%20key%20results%20of%20the,wind%20and%20offshore%20wind%20respectively

## Capex Calculations
Mooring Winches
turbines | 25 |  |  |  |  | Total Farm Cost (doesn’t include IAC yet)
winches per turbine | 3 |  |  |  |  | Optimistic | 46785363.8411 | minimum costs, 3 lines per turbine
total winches | 75 | total |  |  |  | pessimistic | 157876761.621 | maximum costs, 6 lines per turbine - using track system to keep to 3 winches
winch cost (optimistic) | 200000 | 15000000 |  | Unhide rows And columns to see calculations
winch cost (conservative) | 500000 | 37500000
motions per day | 1 | 17
winch energy usage (of AEP) | 2.659% | 11.55%
Lifetime cost of winch energy | 1679527.5045 | 9384967.6704
Mooring Lines | formula | [6 empty] | farm scenario | farm scenario | farm scenario | farm scenario | farm scenario | farm scenario
depth (m) |  | 2000 | 2000 | 1000 | 1000 | 500 | 500 | 2000 | 2000 | 1000 | 1000 | 500 | 500
Excursion Range (m) |  | 700 | 350 | 350 | 175 | 175 | 87.5 | 700 | 350 | 350 | 175 | 175 | 87.5
Upper Angle tolerance | assumed from results of allowed stretch | 33 | 39.5 | 33 | 39.5 | 33 | 39.5 | 33 | 39.5 | 33 | 39.5 | 33 | 39.5
nominal angle | From Will? | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
Anchor Radius | tan(low angle)*depth | 2000 | 2000 | 1000 | 1000 | 500 | 500 | 2000 | 2000 | 1000 | 1000 | 500 | 500
Allowed Stretch | Anc.Rad - Tan(up angle)*depth | 701.1848 | 351.3272 | 350.5924 | 175.6636 | 175.2962 | 87.8318 | 701.1848 | 351.3272 | 350.5924 | 175.6636 | 175.2962 | 87.8318
max shortened line length | depth/cos(low angle) | 1677.3411 | 1543.2492 | 838.6706 | 771.6246 | 419.3353 | 385.8123 | 1677.3411 | 1543.2492 | 838.6706 | 771.6246 | 419.3353 | 385.8123
shortened anchor rad | depth*tan(low angle) | 1298.8152 | 1648.6728 | 649.4076 | 824.3364 | 324.7038 | 412.1682 | 1298.8152 | 1648.6728 | 649.4076 | 824.3364 | 324.7038 | 412.1682
lengthened anchor rad | 2(Anc.Rad)-short anc.rad | 2701.1848 | 2351.3272 | 1350.5924 | 1175.6636 | 675.2962 | 587.8318 | 2701.1848 | 2351.3272 | 1350.5924 | 1175.6636 | 675.2962 | 587.8318
lower angle tolerance | tan^-1(length anc.rad/depth) | 53.4832 | 49.6161 | 53.4832 | 49.6161 | 53.4832 | 49.6161 | 53.4832 | 49.6161 | 53.4832 | 49.6161 | 53.4832 | 49.6161
lengthened line length | sqrt(length anc.rad^s + depth^2) | 3361.0117 | 3086.8657 | 1680.5058 | 1543.4328 | 840.2529 | 771.7164 | 3361.0117 | 3086.8657 | 1680.5058 | 1543.4328 | 840.2529 | 771.7164
drum capacity | length line - short line | 1683.6705 | 1543.6165 | 841.8353 | 771.8083 | 420.9176 | 385.9041 | 1683.6705 | 1543.6165 | 841.8353 | 771.8083 | 420.9176 | 385.9041
Min required line length | equiv to lengthened line (safety factor of sqrt(3) already applied via 2-D triangles instead of 3D) | 3361.0117 | 3086.8657 | 1680.5058 | 1543.4328 | 840.2529 | 771.7164 | 3361.0117 | 3086.8657 | 1680.5058 | 1543.4328 | 840.2529 | 771.7164
line count |  | 3 | 3 | 3 | 3 | 3 | 3 | 6 | 6 | 6 | 6 | 6 | 6
upgrade line (m) per turbine | req. line length * num lines | 10083.035 | 9260.597 | 5041.5175 | 4630.2985 | 2520.7587 | 2315.1493 | 20166.07 | 18521.1941 | 10083.035 | 9260.597 | 5041.5175 | 4630.2985
initial line (m) per turbine | cos(45)*d*num lines | 6928.2032 | 6928.2032 | 3464.1016 | 3464.1016 | 1732.0508 | 1732.0508 | 13856.4065 | 13856.4065 | 6928.2032 | 6928.2032 | 3464.1016 | 3464.1016
Delta line (m) per turbine | upgrade-initial | 3154.8318 | 2332.3938 | 1577.4159 | 1166.1969 | 788.7079 | 583.0985 | 6309.6635 | 4664.7876 | 3154.8318 | 2332.3938 | 1577.4159 | 1166.1969
Polyester cost per meter | 1000
line cost per turbine | total line per turbine*cost/meter | 3154831.758 | 2332393.8138 | 1577415.879 | 1166196.9069 | 788707.9395 | 583098.4535 | 6309663.516 | 4664787.6277 | 3154831.758 | 2332393.8138 | 1577415.879 | 1166196.9069
upgrade Install cost factor | 1
upgraded install cost per turbine | factor*upgrade cost per turbine | 3154831.758 | 2332393.8138 | 1577415.879 | 1166196.9069 | 788707.9395 | 583098.4535 | 6309663.516 | 4664787.6277 | 3154831.758 | 2332393.8138 | 1577415.879 | 1166196.9069
total mooring cost | total cost per turbine*turbines | 78870793.9506 | 58309845.3462 | 39435396.9753 | 29154922.6731 | 19717698.4876 | 14577461.3366 | 157741587.9011 | 116619690.6925 | 78870793.9506 | 58309845.3462 | 39435396.9753 | 29154922.6731
Cable
initial inter-turbine distance (m) |  | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
initial cost/m | 645
initial IAC cost | D*cost factor | 774000 | 774000 | 774000 | 774000 | 774000 | 774000 | 774000 | 774000 | 774000 | 774000 | 774000 | 774000
Desired stretch |  | 700 | 350 | 350 | 175 | 175 | 87.5 | 700 | 350 | 350 | 175 | 175 | 87.5
Spring shape factor X | 1.4 | 2660 | 2170 | 2170 | 1925 | 1925 | 1802.5 | 2660 | 2170 | 2170 | 1925 | 1925 | 1802.5
cost per m IAC | 645 | 1715700 | 1399650 | 1399650 | 1241625 | 1241625 | 1162612.5 | 1715700 | 1399650 | 1399650 | 1241625 | 1241625 | 1162612.5
extra durability/ shielding/ floataion factor X | 1.2 | 2058840 | 1679580 | 1679580 | 1489950 | 1489950 | 1395135 | 2058840 | 1679580 | 1679580 | 1489950 | 1489950 | 1395135
delta upgrade cost per turbine | upgrade-initial cost per turbine | 1284840 | 905580 | 905580 | 715950 | 715950 | 621135 | 1284840 | 905580 | 905580 | 715950 | 715950 | 621135
| upgrade cost per farm | 32121000 | 22639500 | 22639500 | 17898750 | 17898750 | 15528375 | 32121000 | 22639500 | 22639500 | 17898750 | 17898750 | 15528375
Cable+Mooring Upgrade Costs |  | 110991793.9506 | 80949345.3462 | 62074896.9753 | 47053672.6731 | 37616448.4876 | 30105836.3366 | 189862587.9011 | 139259190.6925 | 101510293.9506 | 76208595.3462 | 57334146.9753 | 44683297.6731

## Winch Energy Cost
|  | Downtime scenario | [7 empty] | Capable of generating while moving
| turbine power (MW) | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
consumption | per winch (MW) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
stretch distance | meter | 700 | 350 | 175 | 87.5 | 700 | 350 | 175 | 87.5 | 700 | 350 | 175 | 87.5 | 700 | 350 | 175 | 87.5
movement speed | m/minute | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
| minutes per 700m movement | 7 | 3.5 | 1.75 | 0.875 | 7 | 3.5 | 1.75 | 0.875 | 7 | 3.5 | 1.75 | 0.875 | 7 | 3.5 | 1.75 | 0.875
downtime buffer (ramp up/down) | minutes | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| movements per day | 1 | 1 | 1 | 1 | 17 | 17 | 17 | 17 | 1 | 1 | 1 | 1 | 17 | 17 | 17 | 17
| downtime (minutes) | 27 | 23.5 | 21.75 | 20.875 | 459 | 399.5 | 369.75 | 354.875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| winches | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Energy Gain | MWh/a | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000 | 33000
downtime percent | % | 1.875% | 1.632% | 1.51% | 1.45% | 31.87% | 27.74% | 25.68% | 24.64% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
downtime energy loss | MWh/a | 618.75 | 538.5417 | 498.4375 | 478.3854 | 10518.75 | 9155.2083 | 8473.4375 | 8132.5521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy consumption | MWh/a | 3193.75 | 1596.875 | 798.4375 | 399.2188 | 54293.75 | 27146.875 | 13573.4375 | 6786.7188 | 3193.75 | 1596.875 | 798.4375 | 399.2188 | 54293.75 | 27146.875 | 13573.4375 | 6786.7188
Energy loss | MWh/a | 3812.5 | 2135.4167 | 1296.875 | 877.6042 | 64812.5 | 36302.0833 | 22046.875 | 14919.2708 | 3193.75 | 1596.875 | 798.4375 | 399.2188 | 54293.75 | 27146.875 | 13573.4375 | 6786.7188
energy loss percent |  | 11.55% | 6.471% | 3.93% | 2.659% | 196.4% | 110% | 66.81% | 45.21% | 9.678% | 4.839% | 2.42% | 1.21% | 164.5% | 82.26% | 41.13% | 20.57%
Sensible approach - checks out
Scott Love review points 5/08/24
I agree the approach
Also this is conservative as you might organise for the movement to take place during lower winds speeds (within reasons) and the appraoch you have taken just applies this as a rough availability downtime loss which therefore assumes the loss applies equally/ on average over the wind speed distribution.
you are also being conservative (though I think you should keep this as discussed and agreed) in that you are assuming the "energy consumption" losses apply to all winches but in reality some will "pay-out" under a brake rather than pull in under winch, as Will described. But keep you approach which is good
Final point- needs OPEX but I suspect you will be looking at that. Let me know if you need any day rates for vessels and/or typical balance of plant O&M costs or high level assumptions for failure rates and major intervention assumptions for failures of the winch equipment.

## Tables for Write-up
important tables are made cleaned up and made pretty here so that I can put them in the writeup
[7 empty] | Daily Excursions | 1 | 1 | 1 | 1
[7 empty] | Excursion Range (m) | 700 | 350 | 175 | 87.5
| Monetary Gain $/Ann. | [5 empty] | Winch Cost | 37500000 | 37500000 | 37500000 | 37500000
| Direction Sensitivity Setting (Deg) | [5 empty] | Winch Process Energy Cost | 7941575.5708 | 4448150.2514 | 2701437.5917 | 1828081.2619
| 1 | 5 | 10 | 20 | 40 | 90 | Mooring Cost | 78870793.9506 | 39435396.9753 | 19717698.4876 | 14577461.3366
Chile | 7404348.4558 | 7420299.6796 | 7411825.3088 | 7475114.3561 | 7181888.1265 | 6272443.1545 | Cable Cost | 32121000 | 22639500 | 17898750 | 15528375
New Zealand | 8123381.8524 | 8154694.7388 | 8175698.2481 | 7546269.0696 | 6789923.7017 | 6315422.1179 | Total Cost | 156433369.5214 | 104023047.2267 | 77817886.0794 | 69433917.5984
HornsRev | 6779785.8134 | 5677914.0734 | 4616289.8689 | 1070564.2085 | 452851.8312 | -12587858.2701
Maine | 4924193.6574 | 4823361.6681 | 4821431.5777 | 4655649.4495 | -4077463.88 | -4704928.0599
California | 3875290.0024 | 3797228.2867 | 3674238.9279 | 2980395.4334 | -26602225.4988 | -26351142.1794
Taiwan | 2302051.174 | 2024349.8376 | 2055737.4864 | -5364928.1205 | -36482892.9664 | -34700852.9683
NPV
| Discount Rate: | 7.5% | Farm Lifespan: | 20
Direction Sensitivity Setting (Deg)
| 1 | 5 | 10 | 20 | 40 | 90
Chile | 81144833.8294 | 81319644.5384 | 81226773.246 | 81920362.8656 | 78706873.6821 | 68740195.105
New Zealand | 89024777.0598 | 89367937.4303 | 89598116.5317 | 82700152.9362 | 74411304.894 | 69211204.9269
HornsRev | 74300202.9841 | 62224704.4064 | 50590281.7185 | 11732396.8907 | 4962838.6359 | -137951323.2921
Maine | 53964623.4183 | 52859597.7616 | 52838445.7496 | 51021626.4411 | -44685245.5636 | -51561674.5867
California | 42469606.2272 | 41614121.7797 | 40266271.7769 | 32662386.6543 | -291535869.8318 | -288784228.0967
Taiwan | 25228358.8618 | 22185008.1973 | 22528987.8952 | -58794666.8696 | -399818877.3873 | -380289361.6727

## Site Details
Site | Latitude | Longitude | Country | Primary WD (deg) | Avg WS (m/s) | Wind Character | Wind Rose
Chile | -25 | -70 | Chile | 30 | 7.9 | Narrow/Bifurcated/Semidiurnal
New Zealand | -37.4051 | 178.6816 | New Zealand | 270/160 | 9.26 | Broad/Bifurcated
HornsRev | 55.487 | 7.8388 | Denmark | 240 | 10.98 | Broad
Maine | 42.9403 | -67.3242 | United States | 210 | 10.23 | Broad/Mono
California | 33.8704 | -120.7397 | United States | 320 | 8.84 | Mono
Taiwan | 24.67 | 120.05 | Taiwan | 30 | 10.53 | Narrow/Mono

## Turbine Shift Measurements
| Chile | Zone 19 | HornsRev | Zone 32 | Taiwan | Zone 51 | New Zealand | Zone 60 | California | Zone 10
Initial Farm | -8953576.5696 | -8831068.4888 | 56959.3532 | 6182395.4873 | 9205479.1685 | 13253727.0728 | 1949620.6582 | -15728013.4234 | -3718910.2946 | 15216184.8296
| -8955155.2532 | -8831643.0827 | 56959.3532 | 6180715.4873 | 9204192.2139 | 13254806.956 | 1949620.6582 | -15726333.4234 | -3720365.2173 | 15215344.8296
| -8956733.9368 | -8832217.6765 | 56959.3532 | 6179035.4873 | 9202905.2592 | 13255886.8392 | 1949620.6582 | -15724653.4234 | -3721820.14 | 15214504.8296
| -8958312.6204 | -8832792.2703 | 56959.3532 | 6177355.4873 | 9201618.3045 | 13256966.7224 | 1949620.6582 | -15722973.4234 | -3723275.0626 | 15213664.8296
| -8959891.304 | -8833366.8642 | 56959.3532 | 6175675.4873 | 9200331.3499 | 13258046.6056 | 1949620.6582 | -15721293.4234 | -3724729.9853 | 15212824.8296
| -8952472.6527 | -8829288.7903 | 55745.5365 | 6180931.8491 | 9205187.2189 | 13254953.5591 | 1951585.6715 | -15729010.408 | -3718933.954 | 15218421.5088
| -8954051.3363 | -8829863.3842 | 55745.5365 | 6179251.8491 | 9203900.2642 | 13256033.4423 | 1951585.6715 | -15727330.408 | -3720388.8767 | 15217581.5088
| -8955630.0199 | -8830437.978 | 55745.5365 | 6177571.8491 | 9202613.3096 | 13257113.3255 | 1951585.6715 | -15725650.408 | -3721843.7994 | 15216741.5088
| -8957208.7035 | -8831012.5718 | 55745.5365 | 6175891.8491 | 9201326.3549 | 13258193.2087 | 1951585.6715 | -15723970.408 | -3723298.722 | 15215901.5088
| -8958787.3871 | -8831587.1657 | 55745.5365 | 6174211.8491 | 9200039.4002 | 13259273.0919 | 1951585.6715 | -15722290.408 | -3724753.6447 | 15215061.5088
| -8951368.7358 | -8827509.0918 | 54531.7198 | 6179468.2109 | 9204895.2692 | 13256180.0454 | 1953550.6847 | -15730007.3927 | -3718957.6134 | 15220658.1881
| -8952947.4194 | -8828083.6857 | 54531.7198 | 6177788.2109 | 9203608.3146 | 13257259.9286 | 1953550.6847 | -15728327.3927 | -3720412.5361 | 15219818.1881
| -8954526.103 | -8828658.2795 | 54531.7198 | 6176108.2109 | 9202321.3599 | 13258339.8118 | 1953550.6847 | -15726647.3927 | -3721867.4587 | 15218978.1881
| -8956104.7866 | -8829232.8733 | 54531.7198 | 6174428.2109 | 9201034.4052 | 13259419.695 | 1953550.6847 | -15724967.3927 | -3723322.3814 | 15218138.1881
| -8957683.4702 | -8829807.4672 | 54531.7198 | 6172748.2109 | 9199747.4506 | 13260499.5782 | 1953550.6847 | -15723287.3927 | -3724777.3041 | 15217298.1881
| -8950264.8189 | -8825729.3933 | 53317.9031 | 6178004.5727 | 9204603.3196 | 13257406.5317 | 1955515.698 | -15731004.3774 | -3718981.2728 | 15222894.8673
| -8951843.5025 | -8826303.9872 | 53317.9031 | 6176324.5727 | 9203316.3649 | 13258486.4149 | 1955515.698 | -15729324.3774 | -3720436.1954 | 15222054.8673
| -8953422.1861 | -8826878.581 | 53317.9031 | 6174644.5727 | 9202029.4102 | 13259566.2981 | 1955515.698 | -15727644.3774 | -3721891.1181 | 15221214.8673
| -8955000.8697 | -8827453.1748 | 53317.9031 | 6172964.5727 | 9200742.4556 | 13260646.1813 | 1955515.698 | -15725964.3774 | -3723346.0408 | 15220374.8673
| -8956579.5533 | -8828027.7687 | 53317.9031 | 6171284.5727 | 9199455.5009 | 13261726.0645 | 1955515.698 | -15724284.3774 | -3724800.9635 | 15219534.8673
| -8949160.902 | -8823949.6948 | 52104.0864 | 6176540.9345 | 9204311.3699 | 13258633.018 | 1957480.7113 | -15732001.3621 | -3719004.9321 | 15225131.5465
| -8950739.5856 | -8824524.2887 | 52104.0864 | 6174860.9345 | 9203024.4152 | 13259712.9012 | 1957480.7113 | -15730321.3621 | -3720459.8548 | 15224291.5465
| -8952318.2692 | -8825098.8825 | 52104.0864 | 6173180.9345 | 9201737.4606 | 13260792.7844 | 1957480.7113 | -15728641.3621 | -3721914.7775 | 15223451.5465
| -8953896.9528 | -8825673.4763 | 52104.0864 | 6171500.9345 | 9200450.5059 | 13261872.6676 | 1957480.7113 | -15726961.3621 | -3723369.7002 | 15222611.5465
| -8955475.6364 | -8826248.0702 | 52104.0864 | 6169820.9345 | 9199163.5512 | 13262952.5508 | 1957480.7113 | -15725281.3621 | -3724824.6229 | 15221771.5465
Extreme Farm | -8953576.5696 | -8831068.4888 | 56959.3532 | 6182395.4873 | 9205479.1685 | 13253727.0728 | 1949620.6582 | -15728013.4234 | -3718910.2946 | 15216184.8296
| -8955155.2532 | -8831643.0827 | 56959.3532 | 6180715.4873 | 9204192.2139 | 13254806.956 | 1949620.6582 | -15726333.4234 | -3720365.2173 | 15215344.8296
| -8956733.9368 | -8832217.6765 | 56959.3532 | 6179035.4873 | 9202905.2592 | 13255886.8392 | 1949620.6582 | -15724653.4234 | -3721820.14 | 15214504.8296
| -8958312.6204 | -8832792.2703 | 56959.3532 | 6177355.4873 | 9201618.3045 | 13256966.7224 | 1949620.6582 | -15722973.4234 | -3723275.0626 | 15213664.8296
| -8959891.304 | -8833366.8642 | 56959.3532 | 6175675.4873 | 9200331.3499 | 13258046.6056 | 1949620.6582 | -15721293.4234 | -3724729.9853 | 15212824.8296
| -8952673.9525 | -8828959.7996 | 55170.7825 | 6181725.4387 | 9204815.0363 | 13255186.2677 | 1951274.9308 | -15729454.1918 | -3718126.2355 | 15218086.9409
| -8954252.6361 | -8829534.3934 | 55170.7825 | 6180045.4387 | 9203528.0817 | 13256266.1509 | 1951274.9308 | -15727774.1918 | -3719581.1582 | 15217246.9409
| -8955831.3197 | -8830108.9873 | 55170.7825 | 6178365.4387 | 9202241.127 | 13257346.0341 | 1951274.9308 | -15726094.1918 | -3721036.0809 | 15216406.9409
| -8957410.0033 | -8830683.5811 | 55170.7825 | 6176685.4387 | 9200954.1723 | 13258425.9173 | 1951274.9308 | -15724414.1918 | -3722491.0035 | 15215566.9409
| -8958988.6869 | -8831258.175 | 55170.7825 | 6175005.4387 | 9199667.2177 | 13259505.8005 | 1951274.9308 | -15722734.1918 | -3723945.9262 | 15214726.9409
| -8951771.3353 | -8826851.1104 | 53382.2118 | 6181055.3901 | 9204150.9041 | 13256645.4627 | 1952929.2033 | -15730894.9602 | -3717342.1764 | 15219989.0522
| -8953350.0189 | -8827425.7042 | 53382.2118 | 6179375.3901 | 9202863.9495 | 13257725.3458 | 1952929.2033 | -15729214.9602 | -3718797.0991 | 15219149.0522
| -8954928.7025 | -8828000.298 | 53382.2118 | 6177695.3901 | 9201576.9948 | 13258805.229 | 1952929.2033 | -15727534.9602 | -3720252.0218 | 15218309.0522
| -8956507.3861 | -8828574.8919 | 53382.2118 | 6176015.3901 | 9200290.0401 | 13259885.1122 | 1952929.2033 | -15725854.9602 | -3721706.9445 | 15217469.0522
| -8958086.0697 | -8829149.4857 | 53382.2118 | 6174335.3901 | 9199003.0855 | 13260964.9954 | 1952929.2033 | -15724174.9602 | -3723161.8671 | 15216629.0522
| -8950868.7181 | -8824742.4211 | 51593.6411 | 6180385.3416 | 9203486.7719 | 13258104.6576 | 1954583.4758 | -15732335.7286 | -3716558.1173 | 15221891.1634
| -8952447.4017 | -8825317.015 | 51593.6411 | 6178705.3416 | 9202199.8173 | 13259184.5408 | 1954583.4758 | -15730655.7286 | -3718013.04 | 15221051.1634
| -8954026.0853 | -8825891.6088 | 51593.6411 | 6177025.3416 | 9200912.8626 | 13260264.424 | 1954583.4758 | -15728975.7286 | -3719467.9627 | 15220211.1634
| -8955604.7689 | -8826466.2027 | 51593.6411 | 6175345.3416 | 9199625.9079 | 13261344.3071 | 1954583.4758 | -15727295.7286 | -3720922.8854 | 15219371.1634
| -8957183.4525 | -8827040.7965 | 51593.6411 | 6173665.3416 | 9198338.9533 | 13262424.1903 | 1954583.4758 | -15725615.7286 | -3722377.808 | 15218531.1634
| -8949966.1009 | -8822633.7319 | 49805.0704 | 6179715.293 | 9202822.6397 | 13259563.8525 | 1956237.7484 | -15733776.497 | -3715774.0582 | 15223793.2747
| -8951544.7845 | -8823208.3258 | 49805.0704 | 6178035.293 | 9201535.6851 | 13260643.7357 | 1956237.7484 | -15732096.497 | -3717228.9809 | 15222953.2747
| -8953123.4682 | -8823782.9196 | 49805.0704 | 6176355.293 | 9200248.7304 | 13261723.6189 | 1956237.7484 | -15730416.497 | -3718683.9036 | 15222113.2747
| -8954702.1518 | -8824357.5134 | 49805.0704 | 6174675.293 | 9198961.7757 | 13262803.5021 | 1956237.7484 | -15728736.497 | -3720138.8263 | 15221273.2747
| -8956280.8354 | -8824932.1073 | 49805.0704 | 6172995.293 | 9197674.8211 | 13263883.3852 | 1956237.7484 | -15727056.497 | -3721593.7489 | 15220433.2747

## Trial Vortex Bias
Site | Bias (140m) | source: https://vortexfdc.com/wp-content/uploads/2021/08/metocean_vortex_wind_model_validation.pdf
| 0.31 |  | Important test notes:
| 0 |  | at all but two sites, vortex bias is closer to zero than Era5
| -0.4 |  | Vortex CC is closer than or equal to Era5 CC (correlation coefficient) everywhere
| -0.41 |  | negative values of bias represent UNDERPREDICTION by vortex
| -0.76 |  | neither model (era5 nor vortex) is quite accurate (underpredicts) at the high end of wind speed spectrum
-0.14
-0.66
-0.55
-0.59
-0.6
-0.43
Mean | -0.38455
stdv | 0.32029

## Trial NPV Summation Table
Country | Chile | Year | PV | diff | fact | running sum
Deg Sens | 1 | 0 | 7404348.4558 | 516582.4504 |  | 7404348.4558 | 7404348.4558
CF | 7404348.4558 | 1 | 6887766.0054 | 480541.8143 | 0.93023 | 14292114.4612 | 6887766.0054
Disc. Rate | 0.075 | 2 | 6407224.1911 | 447015.6412 | 0.93023 | 20699338.6522 | 6407224.1911
Invest | 18245000 | 3 | 5960208.5498 | 415828.5035 | 0.93023 | 26659547.202 | 5960208.5498
R | 0.93023 | 4 | 5544380.0463 | 386817.2125 | 0.93023 | 32203927.2484 | 5544380.0463
Subsidy | 146 pound/MWh | 5 | 5157562.8338 | 359829.9651 | 0.93023 | 37361490.0822 | 5157562.8338
|  | 6 | 4797732.8687 | 334725.549 | 0.93023 | 42159222.9508 | 4797732.8687
|  | 7 | 4463007.3197 | 311372.6037 | 0.93023 | 46622230.2705 | 4463007.3197
|  | 8 | 4151634.716 | 289648.9337 | 0.93023 | 50773864.9865 | 4151634.716
|  | 9 | 3861985.7823 | 269440.8685 | 0.93023 | 54635850.7688 | 3861985.7823
|  | 10 | 3592544.9138 | 250642.6684 | 0.93023 | 58228395.6826 | 3592544.9138
|  | 11 | 3341902.2454 | 233155.9706 | 0.93023 | 61570297.928 | 3341902.2454
|  | 12 | 3108746.2748 | 216889.275 | 0.93023 | 64679044.2027 | 3108746.2748
|  | 13 | 2891856.9998 | 201757.4651 | 0.93023 | 67570901.2025 | 2891856.9998
|  | 14 | 2690099.5347 | 187681.3629 | 0.93023 | 70261000.7372 | 2690099.5347
|  | 15 | 2502418.1718 | 174587.3143 | 0.93023 | 72763418.909 | 2502418.1718
|  | 16 | 2327830.8575 | 162406.804 | 0.93023 | 75091249.7665 | 2327830.8575
|  | 17 | 2165424.0535 | 151076.0968 | 0.93023 | 77256673.8199 | 2165424.0535
|  | 18 | 2014347.9567 | 140535.904 | 0.93023 | 79271021.7767 | 2014347.9567
|  | 19 | 1873812.0528 | 130731.0734 | 0.93023 | 81144833.8294 | 1873812.0528
|  | 20 | 1743080.9793 |  | 0.93023 | 82887914.8087 | 1743080.9793
|  |  | 82887914.8087 |  |  |  | 82887914.8087